PROFILE INTERPRETATION WORKSHEET

IDENTIFILER

PROFILE NAME: _____Sample 1_____________

ANALYST: _______________________________

DATE:  ____10/3/2011______

MIXTURE:        yes       no        unsure

Allele and Locus Assessments						     Assuming 2 contributors, 4:1 ratio

| ID LOCUS | Alleles above Analytical Threshold | Alleles above Stochastic Threshold | Other peaks to consider | Minimum # of Donors | All alleles likely present? Y/N | Stochastic issues? Elevated stutter? missing alleles? | Degradation Likely? poss. missing alleles? | Yes M/m If mixture, distinguishable profile? Y/N | Additional Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| D8S1179 | 13, 14, 15, 16 | 13, 14, 15 | - | 2 (4:1) | Y, if 2* | 16 +4 stutter? No* | No | 14,15 13,16 | * no, if >2 donors |
| D21S11 | 28,30, 32.2 | 28,30, 32.2 | - | 2 | Y | No | No | 30,32.2 28,28 |  |
| D7S820 | 8, 10, 12 | 10, 12 | - | 2 | N? | Missing? | No | 10,12 8,? |  |
| CSF1PO | 10, 11, 12 | 10, 11, 12 | - | 2 | Y | No | No | 10,11 12,12 | 10,12 11,12 |
| D3S1358 | 14, 16, 18 | 14, 16, 18 | - | 2 | Y | No | No | 14,18 16,16 |  |
| TH01 | 7, 9.3 | 7 | - | 2 (PHR) | N? | Missing? | No | 7,7 9.3,? |  |
| D13S317 | 11, 12, 13 | 11, 12 | - | 2 | N? | 13 +4 stutter? Missing? | No | 11,12 13, ? |  |
| D16S539 | 10, 12, 13 | 10, 13 | - | 2 | N? | 12 stutter? Missing? | No | 10,13 12,? | or inconcl. |
| D2S1338 | 22, 23, 25 | 22, 25 | 21, 24? | 2 | N? | 23 +4 stutter? Missing? | No | 22,25 23,? |  |
| D19S433 | 12, 13, 14 | 12, 13, 14 | - | 2 | Y | 13 +4 stutter? | No | 12,14 13,13 |  |
| vWA | 15, 16, 19 | 15, 16 | 14 | 2 | N? | Missing? | No | 15,16 19,? |  |
| TPOX | 8, 11 | 8, 11 | - | 2 (PHR) | Y | No* | No | 8,8 8,11;11,11 | *yes, if >2 donors |
| D18S51 | 14, 16, 18, 20 | 16, 18 | 15, 17? | 3 (4.5:1)* | Y, if 2* | No* | No | 16,18 14,20 | *no, if >2 donors |
| Amel | X, Y | X, Y | - | - | Y | No | No | XY ? |  |
| D5S818 | 11, 12, 13 | 12 | - | 2 (3:1) | Y, if 2* | No* | No | 12,12 11,13;13,? | *no, if >2 donors |
| FGA | 20, 23, 28 | 23 | 22 | 2 (5:1) | Y, if 2* | No* | No? | 23,23 20,28 | *no, if >2 donors |

Page 1

PROFILE INTERPRETATION WORKSHEET

PROFILE NAME: _____Sample 1__________

ANALYST: ____________________________

DATE:  ____________

Assumption 1: Number of contributors = ____2______	Assumption 3: ___no stutter peaks_____

If distinguishable profiles, # of major contributors = ____1____

# of minor contributors = _____1___

Assumption 2: ______mixture ratio 4:1______	Assumption 4: _____________________________

Single-source, Deduced single-source, or Mixture with Distinguishable Major and/or Minor Profile Comparison

| ID LOCUS | Alleles above Analytical Threshold | Alleles above Stochastic Threshold | Single Source, Major or Minor Contributor Alleles /Genotypes | Comparison Profiles | Additional Comments |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 |  |
| D8S1179 |  |  | 14,15 | 12,14 | 13,16 | 14,15 | 11,13 | 13,16 |  |  |
| D21S11 |  |  | 30,32.2 | 28,30 | 28,28 | 30,32.2 | 27,32.2 | 29,32.2 |  |  |
| D7S820 |  |  | 10,12 | 9,9 | 8,12 | 10,12 | 11,11 | 8,11 |  |  |
| CSF1PO |  |  | 10,11 | 10,10* | 12,12 | 10,11 | 10,11 | 11,12 |  | *if only 1 major |
| D3S1358 |  |  | 14,18 | 16,17 | 16,16 | 14,18 | 14,16 | 15,16 |  |  |
| TH01 |  |  | 7,7 | 6,6 | 7,9.3 | 7,7 | 6,9.3 | 6,9 |  |  |
| D13S317 |  |  | 11,12 | 11,14 | 12,13 | 11,12 | 11,13 | 11,11 |  |  |
| D16S539 |  |  | 10,13 | 11,13 | 12,13 | 10,13 | 11,13 | 11,12 |  |  |
| D2S1338 |  |  | 22,25 | 22,23 | 23,25 | 22,25 | 17,25 | 19,24 |  |  |
| D19S433 |  |  | 12,14 | 12,14 | 13,13 | 12,14 | 14,15 | 15,15 |  |  |
| vWA |  |  | 15,16 | 17,18 | 15,19 | 15,16 | 15,18 | 18,19 |  |  |
| TPOX |  |  | 8,8 | 8,8 | 11,11 | 8,8 | 8,11 | 8,11 |  |  |
| D18S51 |  |  | 16,18 | 14,16 | 14,20 | 16,18 | 13,17 | 13,14 |  |  |
| Amel |  |  | XY | XY | XY | XY | XX | XY |  |  |
| D5S818 |  |  | 12,12 | 12,13 | 11,13 | 12,12 | 12,12 | 10,12 |  |  |
| FGA |  |  | 23,23 | 21,22 | 20,28 | 23,23 | 25,26 | 20,20 |  |  |

Page 2

PROFILE INTERPRETATION WORKSHEET

PROFILE NAME: _____Sample 1__________

ANALYST: ____________________________

DATE:  ____________

Assumption 1: Number of contributors = ____2______	Assumption 3: _______no stutter peaks_____

If distinguishable profiles, # of major contributors = ____1____

# of minor contributors = _____1___

Assumption 2: ______mixture ratio 4:1______	Assumption 4: _____________________________

Single-source, Deduced single-source, or Mixture with Distinguishable Major and/or Minor Profile Comparison

| ID LOCUS | Alleles above Analytical Threshold | Alleles above Stochastic Threshold | Single Source, Major or Minor Contributor Alleles /Genotypes | Comparison Profiles | Additional Comments |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Sample 1 | Sample 2 | Sample 3 | Sample 4 | Sample 5 | Sample 6 |  |
| D8S1179 |  |  | 13,16 | 12,14 | 13,16 | 14,15 | 11,13 | 13,16 |  |  |
| D21S11 |  |  | 28,28 | 28,30 | 28,28 | 30,32.2 | 27,32.2 | 29,32.2 |  |  |
| D7S820 |  |  | 8,? | 9,9 | 8,12 | 10,12 | 11,11 | 8,11 |  |  |
| CSF1PO |  |  | 12,12; 10,12; 11,12 | 10,10 | 12,12 | 10,11 | 10,11 | 11,12 |  |  |
| D3S1358 |  |  | 16,16 | 16,17 | 16,16 | 14,18 | 14,16 | 15,16 |  |  |
| TH01 |  |  | 9.3,? | 6,6 | 7,9.3 | 7,7 | 6,9.3 | 6,9 |  |  |
| D13S317 |  |  | 13,? | 11,14 | 12,13 | 11,12 | 11,13 | 11,11 |  |  |
| D16S539 |  |  | 12,? or inconclusive | 11,13 | 12,13 | 10,13 | 11,13 | 11,12 |  |  |
| D2S1338 |  |  | 23,? | 22,23 | 23,25 | 22,25 | 17,25 | 19,24 |  |  |
| D19S433 |  |  | 13,13 | 12,14 | 13,13 | 12,14 | 14,15 | 15,15 |  |  |
| vWA |  |  | 19,? | 17,18 | 15,19 | 15,16 | 15,18 | 18,19 |  |  |
| TPOX |  |  | 8,11 or 11,11 | 8,8* | 11,11 | 8,8* | 8,11 | 8,11 |  | *if only 1 minor |
| D18S51 |  |  | 14,20 | 14,16 | 14,20 | 16,18 | 13,17 | 13,14 |  |  |
| Amel |  |  | ? | XY | XY | XY | XX | XY |  |  |
| D5S818 |  |  | 11,13 or 13,? | 12,13 | 11,13 | 12,12 | 12,12 | 10,12 |  |  |
| FGA |  |  | 20,28 | 21,22 | 20,28 | 23,23 | 25,26 | 20,20* |  | *if only 1 minor |

Page 3

# Text boxes

Analytical threshold: _30 RFU___

Stutter % used: ___ABI_____

Stochastic threshold: _200 RFU_

Peak height ratio:  __60% (major)_

Comments:  _Mixture ratio calculated

( = Included		(A# = Included with assumption

X = Excluded		XA# = Excluded with assumption

? = Inconclusive	?A# = Inconclusive with assumption

Y/A = Included with Assumptions

( = Included		(A# = Included with assumption

X = Excluded		XA# = Excluded with assumption

? = Inconclusive	?A# = Inconclusive with assumption

Y/A = Included with Assumptions